**Abstract**

The most common causation of episodic stroke and cerebral ischemia is thought to be microemboli from carotid plaque. The bifurcation at the carotid bulb is a location prone to atherosclerosis. Some carotid plaques may be prone to rupture, which generates thrombi or plaque particulate that produce neural infarction. There is significant clinical need for a method to determine which plaques are vulnerable to disruption so that surgical intervention or other prophylactic actions can be taken. In this dissertation, advances in diagnostic ultrasound imaging tools to address this need are proposed.

Focus is placed primarily on non-invasive, *in vivo* strain imaging techniques to quantify plaque vulnerability. It is hypothesized that strain, mechanical distortion of tissue, is a direct measure of the tissue’s proximity to fatigue failure. A hierarchical block-matching motion tracking algorithm is developed with a number of novel features. Displacements are estimated with improved robustness and precision by advancing a Bayesian regularization algorithm and an unbiased subsample interpolation technique. A modified least-squares strain estimator is proposed to estimate strain images from a noisy displacement input while addressing the motion discontinuity at the wall-lumen boundary. Methods to track deformation over the cardiac cycle with a dynamic frame skip and use the result to accumulate strain on particles in a region of interest are explained. New methods to visualize and characterize the deformation measured with the full 2D strain tensor are presented.

Other diagnostic ultrasound techniques, high-frequency 3D ultrasound and transcranial Doppler ultrasound, which have the potential to support the strain findings are also studied. Experimental methods to characterize the high-frequency acoustic properties of a tissue-mimicking reference phantom are shown to be effective. The reference phantom is used to create 3D integrated backscatter coefficient images of excised carotid plaques. Transcranial Doppler is studied as method to detect intracranial microemboli and hemodynamics.

Initial results from patients imaged prior to endarterectomy suggest that strain imaging detects conditions that are traditionally considered high risk including soft plaque composition, unstable morphology, abnormal hemodynamics, and shear of plaque against tethering tissue that can be exacerbated by neoangiogenesis. Non-invasive carotid strain imaging is potentially tool for detecting unstable carotid plaque.

**Contents**

**Abstract**

**Acknowledgements**

**Contents**

**List of Figures**

**List of Tables**

**Chapter 1 : Specific Aims 1**

* 1. Research Statement 2
  2. Organization of the Dissertation 4

**Chapter 2 : Human Health Significance 8**

2.1 Etiology of stroke and the role of atherosclerotic plaque 9

2.2 Clinical carotid ultrasound and plaque characterization 15

2.2.1 Defining vulnerable plaque 15

2.2.2 Plaque characterization with other methods and imaging modalities 18

2.2.3 Plaque characterization with diagnostic ultrasound 22

2.3 High frequency ultrasound on carotid plaque 99

2.4 Transcranial Doppler for monitoring microembolic events 99

2.5 References 99

**Chapter 3 : Recursive Bayesian Regularization Applied to Ultrasound Strain Imaging 34**

3.1 Procedures for Calculating the Power Spectrum 35

3.2 Determination of the Optimal Block Size 42

3.3 Compensation for Diffraction Effects 48

3.4 Computer-Simulated Phantoms 52

**Chapter 4 : Unbiased Subsample Displacement Interpolation 55**

4.1 Introduction 56

4.2 Spectral Cross-Correlation Algorithm 57

4.3 Materials and Methods 60

4.4 Simulation Results 62

4.5 Experimental Results 68

4.6 Conclusion 73

Appendix – A : Spectral Cross-Correlation Algorithm 74

**Chapter 5 : Calculating Strain From Displacement 78**

5.1 Hybrid Spectral Domain Algorithm 80

5.2 Materials and Methods 85

5.2.1 Ultrasound RF Data Simulation 85

5.2.2 Experimental RF Data Acquisition 86

5.2.3 Attenuation Estimation Methods 88

5.3 Simulation Results 89

5.4 Experimental Results 97

5.5 Conclusion 102

Appendix – B : Hybrid Spectral Domain Algorithm 104

**Chapter 6 : Narrowband Video Signal Analysis Method 106**

6.1 Video Signal Analysis Method 107

6.2 Materials and Methods 109

6.3 Simulation Results 110

6.4 Experimental Results 117

6.5 Discussion 121

6.6 Conclusion 122

**Chapter 7 : *In-vivo* Attenuation Measurements in the Liver 123**

7.1 *In-vivo* Estimation of Attenuation in Liver 124

7.2. Materials and Methods 127

7.3 Attenuation Estimation Results for Patient data 134

7.3.1 Attenuation Estimation Results for Liver Tumors / Benign Masses 135

7.3.2 Attenuation Estimation Results for Diffuse Liver Diseases 161

7.4 Discussion of Negative Attenuation Coefficient Values 174

7.5 Conclusion 181

**Chapter 8 : Transcranial Doppler Monitoring of the Middle Cerebral Artery 183**

8.1 Physiological insights from transcranial Doppler 184

8.2. Methods to increase robustness of unstable data 187

8.2.1 Examination room protocol 192

8.2.1 Retrospective inspection 192

8.3 Microemboli and peak velocity results 190

**Chapter 9 : *In vivo* Quantification of Carotid Plaque Strain 221**

9.1 Strain estimation algorithm 221

9.1.1 Hierarchical framework

9.1.2 Displacement estimation

9.1.3 Strain estimation

9.1.4 Calculation of derived quantities

9.2 Subject case studies

9.2.1 Subject 999

9.3 References

**Chapter 10 : Contributions of this Dissertation & Future Work 221**

9.1 Contributions of this Dissertation 221

9.2 Future Work 224

**List of Figures**

Fig. 3.1 Comparison of execution times between FFT and CZT 38

Fig. 3.2 The overall scheme utilized for RF signal processing 40

Fig. 3.3 The overall procedure for calculating the block power spectrum 41

Fig. 3.4 Definition of FWHM from a power spectrum 43

Fig. 3.5 Estimations of the FWHMs and attenuation coefficients with different gated window sizes 46

Fig. 3.6 Attenuation coefficient estimates obtained with different numbers of gated data segments 47

Fig. 3.7 Diffraction compensation with respect to the reference echo signal 50

Fig. 3.8 Attenuation estimation with and without diffraction compensation 51

Fig. 3.9 Computer-simulated numerical phantoms 54

Fig. 4.1 Attenuation coefficient estimates for simulated uniform phantoms along the entire beam path using SCC algorithm 66

Fig. 4.2 Attenuation coefficient images of TM phantom data (0dB inclusion) 71

Fig. 4.3 Attenuation coefficient images of TM phantom data (3dB inclusion) 72

Fig. 5.1 B-mode images for simulated TM phantoms 86

Fig. 5.2 B-mode images for TM phantom with a cylindrical inclusion 88

Fig. 5.3 B-mode and attenuation coefficient image of the spectral difference

method 91

Fig. 5.4 B-mode and attenuation coefficient image of the spectral shift

method and the hybrid method 92

Fig. 5.5 Comparison of estimated performance of spectral domain methods 94

Fig. 5.6 Estimated attenuation coefficients for different backscatter levels between the inclusion and background 96

Fig. 5.7 B-mode and attenuation coefficient images of TM phantom (3dB inclusion) 98

Fig. 5.8 B-mode and attenuation coefficient images of TM phantom (0dB inclusion) 99

Fig. 5.9 Estimated attenuation coefficients of TM phantom (3 regions) 101

Fig. 6.1 Logarithm of the relative echogenicity versus depth 111

Fig. 6.2 The relative echogenicity between the sample and reference as derived from the original broadband signal and after bandpass filtering signals 113

Fig. 6.3 Attenuation coefficient images for the simulated uniform phantom 115

Fig. 6.4 Estimated attenuation coefficients using different reference phantoms 116

Fig. 6.5 Attenuation coefficient images for Gammex/RMI prototype phantom 118

Fig. 6.6 Estimated attenuation coefficients for wideband and bandpass filtered RF signals 119

Fig. 6.7 B-mode and attenuation coefficient images of TM phantom with cylindrical inclusion 120

Fig. 7.1 B-mode image of *in-vivo* liver data for Patient 17 129

Fig. 7.2 Normalized power spectra vs. gated window size 131

Fig. 7.3 B-mode and attenuation estimation results for Patient 17 133

Fig. 7.4 B-mode and attenuation estimation results for Patient 33 138

Fig. 7.5 B-mode and attenuation estimation results for Patient 20 140

Fig. 7.6 B-mode and attenuation estimation results for Patient 27 142

Fig. 7.7 B-mode and attenuation estimation results for Patient 32 144

Fig. 7.8 B-mode and attenuation estimation results for Patient 21 146

Fig. 7.9 B-mode and attenuation estimation results for Patient 19 148

Fig. 7.10 B-mode and attenuation estimation results for Patient 18 150

Fig. 7.11 B-mode and attenuation estimation results for Patient 22 152

Fig. 7.12 B-mode and attenuation estimation results for Patient 30 154

Fig. 7.13 B-mode and attenuation estimation results for Patient 35 156

Fig. 7.14 B-mode and attenuation estimation results for Patient 31 158

Fig. 7.15 B-mode and attenuation estimation results for Patient 13 160

Fig. 7.16 B-mode and attenuation estimation results for Patient 23 163

Fig. 7.17 B-mode and attenuation coefficient images for Patient 23 164

Fig. 7.18 B-mode and attenuation estimation results for Patient 28 166

Fig. 7.19 B-mode and attenuation coefficient images for Patient 28 167

Fig. 7.20 B-mode and attenuation estimation results for Patient 29 169

Fig. 7.21 B-mode and attenuation coefficient images for Patient 29 170

Fig. 7.22 B-mode and attenuation estimation results for Patient 36 172

Fig. 7.23 B-mode and attenuation coefficient images for Patient 36 173

Fig. 7.24 B-mode image of *in-vivo* liver hemangioma 176

Fig. 7.25 Attenuation estimation results of the patient with liver hemangioma 177

Fig. 7.26 Logarithm of power spectra of reference and sample and center

frequency changes vs. depth 180

Fig. 8.1 B-mode images of 10 consecutive RF frames 188

Fig. 8.2 Full frame averaged B-mode image obtained 10 consecutive frames 189

Fig. 8.3 B-mode and attenuation estimation results for Patient 9 194

Fig. 8.4 B-mode and attenuation estimation results for Patient 12 196

Fig. 8.5 B-mode and attenuation estimation results for Patient 13 198

Fig. 8.6 B-mode and attenuation estimation results for Patient 21 200

Fig. 8.7 B-mode and attenuation estimation results for Patient 29 201

Fig. 8.8 B-mode and attenuation estimation results for Patient 38 204

Fig. 8.9 B-mode and attenuation estimation results for Patient 15 205

Fig. 8.10 B-mode and attenuation estimation results for Patient 31 206

Fig. 8.11 B-mode and attenuation estimation results for Patient 32 208

Fig. 8.12 B-mode and attenuation estimation results for Patient 20 with DCIS 210

Fig. 8.13 B-mode and attenuation estimation results for Patient 27 213

Fig. 8.14 B-mode and attenuation estimation results for Patient 33 214

Fig. 8.15 B-mode and attenuation estimation results for Patient 35 215

Fig. 8.16 B-mode image of *in-vivo* breast mass 217

Fig. 8.17 Logarithm of power spectra of reference and sample and center

frequency changes vs. depth 219

**List of Tables**

Table 4.1 Estimated attenuation coefficients of the spectral cross-correlation

algorithm 63

Table 4.2 Estimated variance of the spectral cross-correlation algorithm 65

Table 4.3 Estimated attenuation coefficients of the spectral cross-correlation algorithm and the centroid downshift method 67

Table 4.4 Estimated attenuation coefficients of TM phantom 69

Table 5.1 Estimated attenuation coefficients and standard deviations 93

Table 7.1 Attenuation coefficients measured in normal and diffuse liver tissue 125

Table 7.2 Attenuation coefficients measured in liver tumors 126

Table 7.3 Pathological results obtained after biopsy for the patient *in-vivo*

liver data 136

Table 8.1 Representative values of attenuation coefficient for breast tissue 185

Table 8.2 Attenuation properties for breast tumors based on qualitative

B-mode analysis from Rotstein and Neerhut 186

Table 8.3 Pathological results obtained following biopsy from *in-vivo*

breast data 191