**CAROTID PLAQUE CHARACTERIZATION WITH MEDICAL ULTRASOUND**by  
Matthew M. McCormick

A dissertation submitted in partial fulfillment of  
the requirements for the degree of

Doctor of Philosophy  
(Biomedical Engineering)  
at the  
UNIVERSITY OF WISCONSIN–MADISON  
2011

**Acknowledgements**

First, I would like to thank Dr. Tomy Varghese, my advisor. I would also like to thank other faculty members in the Ultrasound Group, Dr. James Zagzebski, Dr. Ernest Madsen, and Dr. Timothy Hall. I was a TA for the ultrasound course lab working with Jim Zagzebski, and I am always amazed by the time he takes to get into the lab even as the chair of Medical Physics, and I admire his humble, inquisitive attitude. I had the pleasure of working closely with Ernie Madsen, and I can only aspire to perform at his caliber as an experimentalist. Without his earnest involvement, we would not have solved the Mystery of the Planar Reflector Scum. The Siemens scanning system would not be in a sufficient functioning state to get the data that was obtained without Tim Hall’s efforts.

Thanks to Dr. Tim Hacker who allowed me to modify (and occasionally break) his VisualSonics system.

I greatly appreciated the assistance I have received and relationships I have built with the graduate students in the ultrasound research group. The names are too numerous to mention here, but special recognition should be given to Dr. Hairong Shi, who mentored me when I started, and Dr. Maritza Hobson, who guarded against unwanted visitors and cockroaches in our basement cave at the Medical Sciences Center.

Gratitude is owed to the Biomedical Engineering Department, which I am a member, but also the Medical Physics Department, which I am an adopted member. The Medical Physics students, faculty, and staff made the journey enjoyable.

The research I performed would not be possible without the valuable contributions of the team of which I was a part. Dr. Robert Dempsey not only performed the surgeries, but lead the team with an attitudes that promoted success: eagerness to try to understand the problems at hand, place resources where needed, and deliver patience when required. Dr. Mark Kliewer generously offered his skills as a radiologist, and his taste for good music. Dr. Carol Mitchell was undoubtedly the most valuable member of the team, and I doubt her passion for research, knowledge, and work ethic are matched in the field of ultrasonography. Thanks are also due to Pam Peterson and Cindy Colombo who put forth their best efforts in coordinating the research study.

Finally, I am grateful to my parents, Dr. Michael and Bernadette McCormick and siblings for their support. Also, the support of my uncle and aunt Patrick and Sara McCormick and their family in Verona, WI was cherished.

**Abstract**

The most common causation of episodic stroke and cerebral ischemia is thought to be microemboli from carotid plaque. The bifurcation at the carotid bulb is a location prone to atherosclerosis. Some carotid plaques may be prone to rupture, which generates thrombi or plaque particulate that produce neural infarction. There is significant clinical need for a method to determine which plaques are vulnerable to disruption so that surgical intervention or other prophylactic actions can be taken. In this dissertation, advances in diagnostic ultrasound imaging tools to address this need are proposed.

Focus is placed primarily on non-invasive, *in vivo* strain imaging techniques to quantify plaque vulnerability. It is hypothesized that strain, mechanical distortion of tissue, is a direct measure of the tissue’s proximity to fatigue failure. A hierarchical block-matching motion tracking algorithm is developed with a number of novel features. Displacements are estimated with improved robustness and precision by advancing a Bayesian regularization algorithm and an unbiased subsample interpolation technique. A modified least-squares strain estimator is proposed to estimate strain images from a noisy displacement input while addressing the motion discontinuity at the wall-lumen boundary. Methods to track deformation over the cardiac cycle with a dynamic frame skip and use the result to accumulate strain on particles in a region of interest are explained. New methods to visualize and characterize the deformation measured with the full 2D strain tensor are presented.

Other diagnostic ultrasound techniques, high-frequency 3D ultrasound and transcranial Doppler ultrasound, which have the potential to support the strain findings are also studied. Experimental methods to characterize the high-frequency acoustic properties of a tissue-mimicking reference phantom are shown to be effective. The reference phantom is used to create 3D integrated backscatter coefficient images of excised carotid plaques. Transcranial Doppler is studied as method to detect intracranial microemboli and hemodynamics.

Initial results from patients imaged prior to endarterectomy suggest that strain imaging detects conditions that are traditionally considered high risk including soft plaque composition, unstable morphology, abnormal hemodynamics, and shear of plaque against tethering tissue that can be exacerbated by neoangiogenesis. Non-invasive carotid strain imaging is a potentially useful tool for detecting unstable carotid plaque.

**Contents**

**Abstract**

**Acknowledgements**

**Contents**

**List of Figures**

**List of Tables**

**Chapter 1 : Objectives 1**

* 1. Research Statement 2
  2. Organization of the Dissertation 4

**Chapter 2 : Human Health Significance 8**

2.1 Etiology of stroke and the role of atherosclerotic plaque 9

2.2 Clinical carotid ultrasound and plaque characterization 15

2.2.1 Vulnerable plaque 15

2.2.2 Plaque characterization with other methods and imaging modalities 18

2.2.3 Plaque characterization with diagnostic ultrasound 22

2.3 References 99

**Chapter 3 : Recursive Bayesian Regularization Applied to Ultrasound Strain Imaging 34**

3.1 Improvement of strain image quality with regularization 35

3.2 Prior efforts in regularization 42

3.3 Recursive Bayesian regularization 48

3.3.1 Algorithm 22

3.3.1 Implementation 22

3.4 Experimental methods and results 52

3.4.1 Uniform strain simulations and phantoms 22

3.4.2 Circular inclusion simulations and phantoms

3.4.3 Optimal SRS

3.4.4 Addressing a carotid reverberation

3.4.5 Improvement of carotid strain images

3.5 Discussion

3.6 Summary

3.7 References

**Chapter 4 : Unbiased Subsample Displacement Interpolation 55**

4.1 Previously explored methods for subsample tracking 56

4.1.1 Methods that use properties of cross-correlation 99

4.1.2 Parametric and non-parametric methods 99

4.2 2D sinc interpolation with numerical optimization 57

4.3 Numerical properties of 2D sinc interpolation 60

4.3.1 Motion tracking algorithm used in testing 99

4.3.2 Tissue-mimicking phantom 99

4.3.3 Ultrasound mechanics simulation 99

4.3.4 Behavior of optimization methods 99

4.4 Applications of this method 99

4.5 References 99

**Chapter 5 : Calculating Strain From Displacement 78**

5.1 The strain tensor 80

5.1.1 Mechanical model

5.1.2 Application in ultrasound

5.2 Methods for estimating strain from displacement 85

5.2.1 Finite difference based methods 85

5.2.2 Derivative of Gaussian 86

5.2.3 A modified least-squares strain estimator 88

5.2.4 B-spline fitting 000

5.3 Useful quantities derived from the strain tensor 89

5.3.1 Principal strains 99

5.3.2 Representation of the 2D strain tensor as an ellipse

5.3.3 Combination of normal strains and shear strain into a single strain index 99

5.4 Generating accumulated strain from a time series 97

5.4.1 Dynamic frame skip 231

5.4.2 Eulerian approach to accumulated strain 999

5.5 References 102

**Chapter 6 : High Frequency Phantom Characterization 106**

6.1 Tissue-mimicking phantoms 107

6.2 Attenuation characterization 109

6.3 Phase velocity characterization 110

6.4 Absolute backscatter estimation 117

6.4.1 Generation of spectra

6.4.2 Faran scattering model

6.4.3 Backscatter coefficient results

6.5 References 121

**Chapter 7 : High-frequency Plaque Characterization 123**

7.1 Creation of parametric images of excised plaque 124

7.2. B-Mode image creation 127

7.3 3D high frequency plaque volumes 134

7.4 References 181

**Chapter 8 : Transcranial Doppler Monitoring of the Middle Cerebral Artery 183**

8.1 Physiological insights from transcranial Doppler 184

8.2. Methods to increase robustness of unstable data 187

8.2.1 Examination room protocol 192

8.2.1 Retrospective inspection 192

8.3 Microemboli and peak velocity results 190

**Chapter 9 : *In vivo* Quantification of Carotid Plaque Strain 221**

9.1 Strain estimation algorithm 221

9.1.1 Hierarchical framework

9.1.2 Displacement estimation

9.1.3 Strain estimation

9.1.4 Calculation of derived quantities

9.2 Subject case studies

9.2.1 Subject 999

9.3 References

**Chapter 10 : Contributions of this Dissertation & Future Work 221**

9.1 Contributions of this Dissertation 221

9.2 Future Work 224

**List of Figures**

Fig. 3.1 Comparison of execution times between FFT and CZT 38

Fig. 3.2 The overall scheme utilized for RF signal processing 40

Fig. 3.3 The overall procedure for calculating the block power spectrum 41

Fig. 3.4 Definition of FWHM from a power spectrum 43

Fig. 3.5 Estimations of the FWHMs and attenuation coefficients with different gated window sizes 46

Fig. 3.6 Attenuation coefficient estimates obtained with different numbers of gated data segments 47

Fig. 3.7 Diffraction compensation with respect to the reference echo signal 50

Fig. 3.8 Attenuation estimation with and without diffraction compensation 51

Fig. 3.9 Computer-simulated numerical phantoms 54

Fig. 4.1 Attenuation coefficient estimates for simulated uniform phantoms along the entire beam path using SCC algorithm 66

Fig. 4.2 Attenuation coefficient images of TM phantom data (0dB inclusion) 71

Fig. 4.3 Attenuation coefficient images of TM phantom data (3dB inclusion) 72

Fig. 5.1 B-mode images for simulated TM phantoms 86

Fig. 5.2 B-mode images for TM phantom with a cylindrical inclusion 88

Fig. 5.3 B-mode and attenuation coefficient image of the spectral difference

method 91

Fig. 5.4 B-mode and attenuation coefficient image of the spectral shift

method and the hybrid method 92

Fig. 5.5 Comparison of estimated performance of spectral domain methods 94

Fig. 5.6 Estimated attenuation coefficients for different backscatter levels between the inclusion and background 96

Fig. 5.7 B-mode and attenuation coefficient images of TM phantom (3dB inclusion) 98

Fig. 5.8 B-mode and attenuation coefficient images of TM phantom (0dB inclusion) 99

Fig. 5.9 Estimated attenuation coefficients of TM phantom (3 regions) 101

Fig. 6.1 Logarithm of the relative echogenicity versus depth 111

Fig. 6.2 The relative echogenicity between the sample and reference as derived from the original broadband signal and after bandpass filtering signals 113

Fig. 6.3 Attenuation coefficient images for the simulated uniform phantom 115

Fig. 6.4 Estimated attenuation coefficients using different reference phantoms 116

Fig. 6.5 Attenuation coefficient images for Gammex/RMI prototype phantom 118

Fig. 6.6 Estimated attenuation coefficients for wideband and bandpass filtered RF signals 119

Fig. 6.7 B-mode and attenuation coefficient images of TM phantom with cylindrical inclusion 120

Fig. 7.1 B-mode image of *in-vivo* liver data for Patient 17 129

Fig. 7.2 Normalized power spectra vs. gated window size 131

Fig. 7.3 B-mode and attenuation estimation results for Patient 17 133

Fig. 7.4 B-mode and attenuation estimation results for Patient 33 138

Fig. 7.5 B-mode and attenuation estimation results for Patient 20 140

Fig. 7.6 B-mode and attenuation estimation results for Patient 27 142

Fig. 7.7 B-mode and attenuation estimation results for Patient 32 144

Fig. 7.8 B-mode and attenuation estimation results for Patient 21 146

Fig. 7.9 B-mode and attenuation estimation results for Patient 19 148

Fig. 7.10 B-mode and attenuation estimation results for Patient 18 150

Fig. 7.11 B-mode and attenuation estimation results for Patient 22 152

Fig. 7.12 B-mode and attenuation estimation results for Patient 30 154

Fig. 7.13 B-mode and attenuation estimation results for Patient 35 156

Fig. 7.14 B-mode and attenuation estimation results for Patient 31 158

Fig. 7.15 B-mode and attenuation estimation results for Patient 13 160

Fig. 7.16 B-mode and attenuation estimation results for Patient 23 163

Fig. 7.17 B-mode and attenuation coefficient images for Patient 23 164

Fig. 7.18 B-mode and attenuation estimation results for Patient 28 166

Fig. 7.19 B-mode and attenuation coefficient images for Patient 28 167

Fig. 7.20 B-mode and attenuation estimation results for Patient 29 169

Fig. 7.21 B-mode and attenuation coefficient images for Patient 29 170

Fig. 7.22 B-mode and attenuation estimation results for Patient 36 172

Fig. 7.23 B-mode and attenuation coefficient images for Patient 36 173

Fig. 7.24 B-mode image of *in-vivo* liver hemangioma 176

Fig. 7.25 Attenuation estimation results of the patient with liver hemangioma 177

Fig. 7.26 Logarithm of power spectra of reference and sample and center

frequency changes vs. depth 180

Fig. 8.1 B-mode images of 10 consecutive RF frames 188

Fig. 8.2 Full frame averaged B-mode image obtained 10 consecutive frames 189

Fig. 8.3 B-mode and attenuation estimation results for Patient 9 194

Fig. 8.4 B-mode and attenuation estimation results for Patient 12 196

Fig. 8.5 B-mode and attenuation estimation results for Patient 13 198

Fig. 8.6 B-mode and attenuation estimation results for Patient 21 200

Fig. 8.7 B-mode and attenuation estimation results for Patient 29 201

Fig. 8.8 B-mode and attenuation estimation results for Patient 38 204

Fig. 8.9 B-mode and attenuation estimation results for Patient 15 205

Fig. 8.10 B-mode and attenuation estimation results for Patient 31 206

Fig. 8.11 B-mode and attenuation estimation results for Patient 32 208

Fig. 8.12 B-mode and attenuation estimation results for Patient 20 with DCIS 210

Fig. 8.13 B-mode and attenuation estimation results for Patient 27 213

Fig. 8.14 B-mode and attenuation estimation results for Patient 33 214

Fig. 8.15 B-mode and attenuation estimation results for Patient 35 215

Fig. 8.16 B-mode image of *in-vivo* breast mass 217

Fig. 8.17 Logarithm of power spectra of reference and sample and center

frequency changes vs. depth 219

**List of Tables**

Table 4.1 Estimated attenuation coefficients of the spectral cross-correlation

algorithm 63

Table 4.2 Estimated variance of the spectral cross-correlation algorithm 65

Table 4.3 Estimated attenuation coefficients of the spectral cross-correlation algorithm and the centroid downshift method 67

Table 4.4 Estimated attenuation coefficients of TM phantom 69

Table 5.1 Estimated attenuation coefficients and standard deviations 93

Table 7.1 Attenuation coefficients measured in normal and diffuse liver tissue 125

Table 7.2 Attenuation coefficients measured in liver tumors 126

Table 7.3 Pathological results obtained after biopsy for the patient *in-vivo*

liver data 136

Table 8.1 Representative values of attenuation coefficient for breast tissue 185

Table 8.2 Attenuation properties for breast tumors based on qualitative

B-mode analysis from Rotstein and Neerhut 186

Table 8.3 Pathological results obtained following biopsy from *in-vivo*

breast data 191